## Slide 1: Understanding HbA1c measurement
Dr Emma English
Secretary IFCC-EUBD
Lecturer in Health Science

## Slide 2: Diabetes is not a new disease

## Slide 3: Diabetes testing through time
Earliest description of symptoms recorded in Ebers papyrus dating back to 1500 BC
Discovered by the Egyptologist George Ebers in Thebes in 1862

## Slide 4: Early diagnosis
1679: Willis
Urine of diabetics had a sweet taste
Associated with:
"good fellowship and guzzling down of ... wine."
1776: Dobson
Isolated a “dry residue” from urine of diabetics which looked and tasted like “brown sugar”

## Slide 5: Diagnosing diabetes (traditional methods)
Plasma Glucose Concentration
Diabetes mellitus
Fasting ≥ 7.0 mmol/L
2 hour ≥ 11.1 mmol/L
Impaired glucose tolerance (IGT)
Fasting < 7.0 mmol/L
2 hour 7.8 to 11.1 mmol/L
Impaired fasting glycaemia
Fasting 6.1 to 7.0 mmol/L
2 hour (if measured) < 7.8 mmol/L

## Slide 6: What is HBA1c?

## Slide 7: HbA1c: Simple Description
Glucose + haemoglobin
Red blood cell
Glycated haemoglobin
HbA1c is haemoglobin to which circulating glucose has bound
So HbA1c is glycated haemoglobin
Notes: 7
Glucose in the blood is able to stick to haemoglobin in the red blood cells to form glycated haemoglobin, which is also called HbA1c.

## Slide 8: Why is HbA1c important?

## Slide 9: Why is HbA1c important?
Two major roles for HbA1c:
  Monitoring of patients with Diabetes Mellitus (DM)
  Diagnosis of patients with Type 2 DM

## Slide 10: DCCT: HbA1c and risk of microvascular complications
Relative Risk
Retinopathy
Nephropathy
Neuropathy
Microalbuminuria
HbA1c (%)
15
13
11
9
7
5
3
1
6
7
8
9
10
11
12
Skyler. Endocrinol Metab Clin 1996;25:243–254
Notes: The relative risk of developing microvascular complications of diabetes (progression of retinopathy, progression to clinical neuropathy, progression to severe nonproliferative or proliferative retinopathy, or progression to microalbuminuria) was directly related to HbA1c level. In this representation of the relationship between the risk of complications and HbA1c, the relative risk of complications is set to 1 at an HbA1c of 6%.
Reference
Skyler J. Diabetic complications. The importance of glucose control. Endocrinol Metab Clin. 1996;25:243–254.

## Slide 11: Why is HbA1c so important?
Microvascular complications
37%
14%
Deaths related to diabetes
Microvascular complications
HbA1c
37%
14%
Deaths related to diabetes
Microvascular complications
HbA1c
37%
14%
Deaths related to diabetes
Microvascular complications
HbA1c
37%
14%
Deaths related to diabetes
21%
Microvascular complications
HbA1c
37%
14%
Deaths related t diabetes
21%
Microvascular complications
HbA1c
37%
14%
Deaths related to diabetes
21%
1%
Myocardial infarction
DCCT & UKPDS showed that HbA1c is the best long-term marker of diabetes control
Better control of HbA1c
leads to better outcomes in people with diabetes
Stratton IM, et al. BMJ 2000; 321:405–412.
Notes: 11
The DCCT showed us the importance of HbA1c as a measure of long term diabetes control.
If someone can reduce their HbA1c at all there are benefits, even a drop of 1% can reduce their likelihood of developing diabetes complications significantly, each 1% reduction bringing with it a 21% reduction in deaths, a 37% reduction in microvascular complications (retinopathy and neuropathy), and a 14% reduction in heart attack.
Overall the DCCT proved conclusively that tight blood glucose control in type 1 diabetes the reduces risk of long term complications:
Eye disease 76% reduced risk
Kidney disease 50% reduced risk
Nerve disease 60% reduced risk
Any reduction on HbA1c is very beneficial
The sooner the better!

## Slide 12: Monitoring of diabetes mellitus
Data from the DCCT and UKPDS trials lead to the widespread introduction of HbA1c as a monitoring tool for diabetes
Treatment targets are commonly based on HbA1c values
Aim of treating to target is to reduce diabetes related complications

## Slide 13: Treatment guidelines
Diabetes Care 2015 Jan; 38(1): 140-149. http://dx.doi.org/10.2337/dc14-2441

## Slide 14
Diabetes Care 2009 32: 1327-1334
The A1C assay is an accurate, precise measure of chronic glycemic levels and correlates well with the risk of diabetes complications.
Diabetes should be diagnosed when A1C is 6.5%. Diagnosis should be confirmed with a repeat A1C test. Confirmation is not required in symptomatic subjects with plasma glucose levels >11.1 mmol/l.
The risk for diabetes based on levels of glycemia is a continuum; therefore, there is no lower glycemic threshold at which risk clearly begins
Those with A1C levels below the threshold for diabetes but 6.0% should receive demonstrably effective preventive interventions. Those with A1C below this range may still be at risk and, depending on the presence of other diabetes risk factors, may also benefit from prevention efforts.
The A1C level at which population-based prevention services begin should be based on the nature of the intervention, the resources available, and the size of the affected population

## Slide 15: WHO guidelines for diagnosis
HbA1c can be used as a diagnostic test for diabetes providing that stringent quality assurance tests are in place and assays are standardised to criteria aligned to the international reference values, and there are no conditions present which preclude its accurate measurement.
An HbA1c of 48 mmol/mol (6.5%) is recommended as the cut point for diagnosing diabetes. A value of less than 48 mmol/mol (6.5%) does not exclude diabetes diagnosed using glucose tests

## Slide 16: Factors affecting HbA1c
Cannot be used for the diagnosis of Type 1 diabetes
Cannot be used in the presence of some haemoglobin variants
Age
Ethnicity
Affected by CKD
Cannot be used in disorders resulting in altered red cell survival
Affected by some drugs

## Slide 17: The discovery of HbA1c
Haemoglobin A1 was first described in 1955
Kunkel and Wallenius, using charge separation, identified a “new” fraction HbA1.
The amino acid sequence of HbA1 was shown to be identical to HbA0
KUNKEL HG, WALLENIUS G. New hemoglobin in normal adult blood. Science. 1955 Aug 12;122(3163):288.

## Slide 18
Rahbar S
Clin Chim Acta 1968; 22: 296-298
An abnormal haemoglobin in
red cells of diabetics
Notes: …What is hyperglycaemia? This is less obvious than it might seem..
…As I will show in the next two slides there is in fact no clear cut-off point between normality and diabetes and this is further complicated by the recognition of a state of impaired glucose tolerance which lies between the two.
We can add to this the complication of which sample we should use to establish the diagnosis (e.g. different populations will respond differently to being fasted or fed), the effects of age, sample type (plasma/serum/whole blood; capillary/venous) and range of analytical methods which have been used over the years.
For the remainder of this talk I will refer to venous plasma concentrations but, of course, other sample types have been widely quoted in the literature.

## Slide 19: The evolution of the understanding of HbA1c biochemistry
1955: Kunkel and Wallenius: First description
1957: Rhinesmith et al: abnormality present in the N-terminal of the b-chain
1958: Allen et al: resolved HbA1 into three fractions HbA1a, HbA1b and HbA1c
1966: Holmquist and Schroeder: concluded that HbA1c is the condensation product (Schiff base) of HbA0 and a ketone or an aldehyde
1968: Bookchin and Gallop: suggested that the N-terminal structure of the HbA1c globin to be N-1-(deoxyhexitol)-valine
1975: Bunn et al: glucose reacted initially with the amino terminus to form an aldimine linkage; subsequently undergoing an Amadori rearrangement to form a stable ketoamine
1979: Bunn et al: indicated that the extent of Amadori rearrangement of newly synthesised HbA1c was 60% by 6 days and 91% by 22 days

## Slide 20: Formation of HbA1c
b
A
O
O
O
HC
HCOH
HCOH
HCOH
CH
2
OH
HOCH
OH
HC
HCOH
HC
HCOH
CH
2
OH
Glucose
b
–
N
–
valyl
–
1
–
deoxyglucose
b
–
N
–
valyl
–
1
–
deoxyfructose
HOCH
HC
HCOH
HC
HCOH
CH
2
OH
HOCH
O
NH
b
A
H
2
C
COH
HC
HCOH
CH
2
OH
HOCH
N
HC
HCOH
HCOH
HCOH
CH
2
OH
HOCH
C
HCOH
HCOH
CH
2
OH
HOCH
H
+
H
+
O
N
+
H
2
b
A
H
2
C
COH
HC
HCOH
CH
2
OH
HOCH
Ketoamine
Aldimine
(Schiff base)
b
A
CH
2
NH
b
A
O
C
HCOH
HCOH
CH
2
OH
HOCH
O
CH
2
N
+
H
2
b
A
H
2
N
+
b
A
Amadori
rearrange-
ment
NH
Glucose is present in the body in two forms:
open chain format
a ring structure (majority of glucose)
Only glucose in the open chain format will react with protein.
All proteins will react with glucose in the open chain format.
The amino acid Lys is the usual site of reaction: in Hb the N-terminal Val is favoured

## Slide 21
b
A
O
O
O
HC
HCOH
HCOH
HCOH
CH
2
OH
HOCH
OH
HC
HCOH
HC
HCOH
CH
2
OH
Glucose
b
–
N
–
valyl
–
1
–
deoxyglucose
b
–
N
–
valyl
–
1
–
deoxyfructose
HOCH
HC
HCOH
HC
HCOH
CH
2
OH
HOCH
O
NH
b
A
H
2
C
COH
HC
HCOH
CH
2
OH
HOCH
N
HC
HCOH
HCOH
HCOH
CH
2
OH
HOCH
C
HCOH
HCOH
CH
2
OH
HOCH
H
+
H
+
O
N
+
H
2
b
A
H
2
C
COH
HC
HCOH
CH
2
OH
HOCH
Ketoamine
Aldimine
(Schiff base)
b
A
CH
2
NH
b
A
O
C
HCOH
HCOH
CH
2
OH
HOCH
O
CH
2
N
+
H
2
b
A
H
2
N
+
b
A
Amadori
rearrange-
ment
NH
Protein reversibly reacts with the
glucose forming a double bond at position 1 on the open glucose form
Termed a Shiff Base
The glucose may form a ring structure at this point. No further reaction will take place

## Slide 22
b
A
O
O
O
HC
HCOH
HCOH
HCOH
CH
2
OH
HOCH
OH
HC
HCOH
HC
HCOH
CH
2
OH
Glucose
b
–
N
–
valyl
–
1
–
deoxyglucose
b
–
N
–
valyl
–
1
–
deoxyfructose
HOCH
HC
HCOH
HC
HCOH
CH
2
OH
HOCH
O
NH
b
A
H
2
C
COH
HC
HCOH
CH
2
OH
HOCH
N
HC
HCOH
HCOH
HCOH
CH
2
OH
HOCH
C
HCOH
HCOH
CH
2
OH
HOCH
H
+
H
+
O
N
+
H
2
b
A
H
2
C
COH
HC
HCOH
CH
2
OH
HOCH
Ketoamine
Aldimine
(Schiff base)
b
A
CH
2
NH
b
A
O
C
HCOH
HCOH
CH
2
OH
HOCH
O
CH
2
N
+
H
2
b
A
H
2
N
+
b
A
Amadori
rearrange-
ment
NH
The almost irreversible Amadori rearrangement: Moving double bond from
Position 1
to Position 2 on the glucose stabilises the product

## Slide 23
b
A
O
O
O
HC
HCOH
HCOH
HCOH
CH
2
OH
HOCH
OH
HC
HCOH
HC
HCOH
CH
2
OH
Glucose
b
–
N
–
valyl
–
1
–
deoxyglucose
b
–
N
–
valyl
–
1
–
deoxyfructose
HOCH
HC
HCOH
HC
HCOH
CH
2
OH
HOCH
O
NH
b
A
H
2
C
COH
HC
HCOH
CH
2
OH
HOCH
N
HC
HCOH
HCOH
HCOH
CH
2
OH
HOCH
C
HCOH
HCOH
CH
2
OH
HOCH
H
+
H
+
O
N
+
H
2
b
A
H
2
C
COH
HC
HCOH
CH
2
OH
HOCH
Ketoamine
Aldimine
(Schiff base)
b
A
CH
2
NH
b
A
O
C
HCOH
HCOH
CH
2
OH
HOCH
O
CH
2
N
+
H
2
b
A
H
2
N
+
b
Hb
Amadori
rearrange-
ment
NH
A Non-enzymatic reaction following the Law of Mass Action
Readily reversible Hours
Almost irreversible
Days

## Slide 24: Glycated Haemoglobin
β-chain
α-chain
Glucose bound to N-terminal valine of β-chain

## Slide 25: Formation of early reversible and advanced irreversible non-enzymatic glycation products
Proteins with T ½ of Days to Weeks
Long-lived Structural Proteins
Advanced glycation end-products
(brown fluorescent pigments with crosslink proteins)
Glucose Amadori
+ Shiff base Product
NH2 - Protein
Glucose Amadori
+ Shiff base Product
NH2 - Protein
Kn
K1
K1
K-1
K-1
K2
K2
K -2
K -2

## Slide 26: Measuring HbA1c

## Slide 27: HbA1c is not like:
Glucose
Thyroxine
These are single molecular structures of known composition; their concentration in the body is tightly regulated and concentrations controlled.

## Slide 28: HbA1c
A product of a non-enzymatic glycation reaction
The reaction follows the Law of Mass action
The reaction is not controlled
Glycated haemoglobin formed is not one single molecular structure

## Slide 29: Basic method principles
Charge difference
  Cation Exchange HPLC
  Capillary Electrophoresis
Structural difference
  Affinity Chromatography HPLC
  Immunoassay
Chemical difference
  Enzymatic
Notes: 29

## Slide 30: HbA1c methodologies

## Slide 31: Early cation exchange chromatography
Allan et al, 1958
Described a large column ion-exchange chromatography method for measuring HbA1
BUT
Columns were over a meter long
Over a litre of blood required for separation

## Slide 32
2oC Temperature difference results in a 15% change in HbA1 result
Early systems grossly affected by temperature changes

## Slide 33: Cation exchange chromatography
Reversible interaction of charged species with ion exchange matrix
Separation is via changes in either salt or pH elution buffer
Cation exchange resin is negatively charged
HbA1c:
  The attachment of glucose to the β-valine terminal changes the isoelectric point by 0.02 pI units
  HPLC required to achieve adequate separation of fractions

## Slide 34: Capillary Electrophoresis
Utilises differences in charge
Electrophoretic movement and electro osmotic flow at high voltage
High level of separation
Samples are run in parallel capillaries
Longer run time
No known interference from HbC, HbS, HbD, HbE and HbF <15%

## Slide 35: Capillary electrophoresis
HbAS Patient

## Slide 36: Affinity chromatography
Based on the affinity of cis-diols on the glucose molecule bound to haemoglobin to boronic acid
Non glycated Hb does not bind and is eluted first
Addition of counter-ligand solution elutes bound glycated Hb
All glycated Hb binds, not just HbA1c

## Slide 37: Affinity Chromatography

## Slide 38: Immunoassay
The antibody is targeted against the β N-terminal glycated tetrapeptide or hexapeptide group
Assay design is variable, ranging from immunoturbidimetry to latex-enhanced competitive immunoturbidimetry and enzymatic detection
Can be used on general chemistry analysers
To quantitate HbA1c, as a ratio, total haemoglobin is measured separately

## Slide 39: Immunoassay - example

## Slide 40: Enzymatic assays

## Slide 41: Comparison of methods
The most suitable method depends on the laboratory and clinical needs:
  Cation exchange and capillary electrophoresis, highly reproducible and variants can be identified
  Affinity methods, less prone to interference than ion exchange
  Enzymatic and immunoassay methods can be performed on general chemistry analysers and may have higher throughput

## Slide 42: Point of Care Testing
Predominantly affinity methods and immunoassay methods
https://www.oxford.dec.nihr.ac.uk/reports-and-resources/horizon-scanning-reports/horizon-scanning-report0044-poc-hba1c-in-diagnosis.pdf

## Slide 43: Thank you
emma.english@uea.ac.uk